Petition No P00040/14

'Disease Rates linked to Central Heating Systems'

Department of the Environment, Community and Local Government

I would like to thank the Committee for the invitation to the Department of the Environment, Community and Local Government to assist the Committee in your consideration of issues raised in the Petition.

My name is Sarah Neary and I am the Senior Technical Adviser in the Architecture /Building Standards section of the Department.   I am accompanied by my colleagues, Eamonn Smyth, Engineering Adviser and Martin Vaughan, Assistant Principal.

The subject before the Committee is technical in nature and the Department is happy to outline its understanding of the relevant product standards, technical guidelines and regulatory controls at home and abroad that inform consideration of this matter.

I note that the National Standards Authority of Ireland has also accepted the Committee’s invitation and I welcome their participation in the discussion.

It is also important to note that with effect from 1 January 2014 Irish Water assumed statutory responsibility for public water services under the Water Service Acts.   Irish Water is now the designated national authority with responsibility for water services and the quality and integrity of water supply in general comes within the remit of Irish Water.   As such, questions, if any, from Committee Members on this aspect of the matter must be directed to Irish Water.

Technical issue raised

At the outset it is helpful to summarise the existing and proposed regulatory arrangements relevant to the matters raised in this petition.

The Petitioner’s issue relates to the installation of a sealed primary heating circuit as part of an indirect vented hot water system. His concerns focus on the method of filling the sealed circuit with water and the potential for backflow contamination.

The sealed primary heating circuit is the pipework that goes from the boiler to a coil in the hot water cylinder. While sealed circuits have existed for some time in the industry and are used in many jurisdictions across Europe, they are relatively new in Ireland.

Traditionally, hot water systems had vented primary heating circuits, which effectively meant there was a dedicated feed and expansion cistern for the boiler in the attic, in addition to the main cold water storage tank.

For a sealed primary heating circuit, the feed and expansion cistern for the boiler is redundant. The sealed system is fitted with an expansion vessel to accommodate the increased volumes. In relation to supplying a feed to fill this circuit, a temporary connection is typically made to a (mains) supply pipe.

British Standards have dealt with these systems for some time, the current standard is BS 8558 Guide to the design, installation, testing and  maintenance of services supplying water for domestic use within buildings and their curtilages –  Complementary guidance to BS EN 806. This standard outlines the proper procedures for these circuits. It sets out how the connection to the (mains) supply pipe may be made by providing a servicing valve, a temporary connecting pipe and an appropriate backflow prevention device.

This arrangement presents some risk to the mains supply and the Petitioner rightfully alluded to this. Normally, the pressure in a primary heating circuit is less than that in the (mains) supply pipe. However, if a fault occurs say in a pressure relief valve for example, the pressure in the circuit could rise above the pressure in the mains. If the servicing valve is left in the open position and the backflow prevention device fails, then there is potential for backflow of the fluid in the heating circuit in to the mains supply. This has the potential to cause contamination of the mains supply. For the avoidance of such backflow/contamination, the temporary connecting pipe must be completely disconnected from the outlet of the backflow device and the connection with the primary circuit after the completion of filling or periodic replenishing. BS 8558 also provides guidance on the prevention of stagnation associated with this temporary connection.

The standard for backflow prevention devices is I.S. EN 1717:2000 Protection against pollution of potable water in water installations and general requirements of devices to prevent pollution by backflow. This standard deals with the means to be used to prevent the pollution of potable water inside premises and the general requirements of protection devices to avoid pollution by backflow.

In the National Annex to EN 1717, it is recommended to carry out a risk assessment if using backflow prevention valves to ensure fitness for purpose. It also advises that permission should be sought from the Water Services Authority. Any backflow protection device should be fit for purpose, manufactured in accordance with the relevant product standards and installed by an experienced plumber/technician.

The Registered Gas Installers of Ireland (RGII) include the above guidance re the temporary connection to sealed heating circuits  in their installation guides for Gas heating systems, for oil fired heating systems association’s such as OFTEC etc provide comparable guidance and boiler manufacturers highlight this issue and provide explicit installation rules in their manuals.

Legislation

The relevant legislation dealing with this aspect of water supply is the Water Services Act 2007.  Section 54 provides that the owner of a premises shall ensure that the internal distribution system of a premises is sufficient for, and maintained in such condition, as to ensure that water intended for human consumption meets prescribed quality requirements at the tap or taps used for such purposes.

Irish Water has powers to issue notices to direct the owner of a premise to undertake remedial action where there is an issue with the quality of the water.

Irish Standards

The National Standards Authority of Ireland (NSAI) has been developing an Irish Code of Practice for Building Services - Domestic plumbing and heating.  A draft of this proposed Code of Practice was published for Public Consultation in 2010.  The Department of the Environment, Community and Local Government is collaborating and fully supportive of NSAI’s efforts in this regard.

The NSAI has recently reconsidered the structure of the draft Code of Practice and, in acknowledgement of the resources and expertise needed to complete it, they have decided to split the Code of Practice into two parts; one dealing with heating systems and one dealing with cold water supply.  Work has re-commenced on the Code of Practice. In relation to the part on water supply, the NSAI has established a dedicated working group under Technical Committee (TC) 10 Water Supply.  The The Working Group includes representation from Irish Water, industry stakeholders, Local Authorities, Homebond, the Sustainable Energy Authority of Ireland, Blanchardstown Institute of Technology, the Institute of Domestic Heating and Environmental Engineers and the Department of the Environment, Community and Local Government.

The NSAI committees will review and finalise the proposed Code of Practice for heating systems, hot water systems, cold water system and importantly their interlinkages, in the context of the suite of European Standards known as EN806: Specification for the installations insider buildings conveying water for human consumption, Parts 1 to 5. This will provide Ireland for the first time with a national standard for plumbing and heating.   The outcome of the work on Code of Practice will inform the Department’s consideration of any further policy or regulatory proposals that may be necessary in this area.

That completes my overview of the existing and proposed regulatory arrangements relevant to the Committee’s consideration of this petition.

My colleagues and I look forward to participating further in the discussion on the basis outlined above and are pleased to assist the Committee in its consideration of this issue.